Prosthetic Hand – Beginning Stage 2 & Meeting Minutes 6 July 2026

Stage 2 Project Aim - Develop 2 types of mechanisms for left hand (thumb powered and wrist flex)

What needs to be done?

Ideally assembly of wrist flexing mechanism

Minutes from Eito

- Terry cloth as an option instead of silicon

- ⁠1 Velcro strap should be enough but concern for whether the finger alignment works. Maybe another Velcro strap near the fingers

- ⁠Sleeve idea: Washable, less rough. Washing is key to clean from sweat and dirt and all. Soft for the skin as well. https://synxbody.com/products/hand-and-wrist-sleeves

- ⁠But the ossur prosthetic doesn’t have a layer, so friction might not be a big problem if the user doesn’t move as much

- ⁠this friction issue is probably something to deal with after the user has tested the product for a while

Minutes from Lily

- Terry cloth with elastic rim to wrap around edge of the PLA base plate like with a mattress cover

- May need to double up on velcro and consider if it can be washed if it will be sewn into the comfortable material touching arm

- Only making left hand prosthetic, between wrist and thumb controlled mechanism

- Material interface between socket that touches the finger for the wrist mechanism or on hand for thumb controlled device: not attached so easy to wash

- Flexible medical sleeve with high friction on outward facing surface so base plate doesn’t slip around

- Give client options next meeting

- For thumbs controlled device: fixing for cables in middle of two ‘finger hills’, trying to not make cables too taut to move

- String in use 0.5 mm, overall with sheath 3 mm

- Consider: will orientation of individual fingers on left hand be able to grip bottle

- Left hand pinky quite flexible compared to thumb

- For individual finger use wrist prototype, one thumb prosthetic and one wider and larger surface area middle digit prototype

To Do

- Preliminarily message Bassie about availability next week (Alex)

- Potentially ask Bassie for video of left hand thumb movement only / ask about left hand grasping movement (maybe) (Alex)

- Make a document detailing this stage’s aims (Alex)

- Consolidate all measurements taken of right hand (rings around fingers, wrist circumference) - Prithvi

- Edoard – Resourcing and research into silicon/terrycloth layer for baseplate back.

- Lily – resizing TPU sockets to fit onto left hand wider + research into finger interface with TPU.

- Cable pulley mechanism for left hand – 1 large linkage mechanism for middle digit

  - resizing linkages for bigger arc end + resize to middle digit of left hand - Fern

  - Intermediate RCJ phalange cut off near nail + resized proportionally –

  - Distal RCJ Phalange resized proportionally

- Reshaping distal RCJ phalange into more of a distal finger shape – requires some time to design. – textured grip or rough surface. Bit complicated

- Full super assembly of a CAD model of cable-pulley mechanism – start it which will aid design. Baseplate, pulley, linkages for 1 finger– Alex

- For resized eNable left hand finger parts, investigate what size set screws are used

- Left Hand – need to reshape backplate to contour of hand. – Fern??

- Eito – making a test build of one digit of the eNable wrist powered mechanism (Tuesday when drill bits here. Alex – remember to give wire cutters, drill bits and other parts needed to build it)

Procurement:

- 2 x Fishing wire (0.55mm gauge) (1 each of 2 different colours) – Anais is finding

- Bowden cable sheaths (1mm diameter) – Anais is finding

- M?? X ??mm set/grub screws for left hand wrist mechanism.